
Toward Closure of Upwelling Radiance in Coastal Waters

(To be submitted to Applied Optics: v4 3/26/02)

Grace C. Chang1, Emmanuel Boss2, Curtis D. Mobley3, Tommy D. Dickey1, and W. S. Pegau4
1Ocean Physics Laboratory, University of California at Santa Barbara, 6487 Calle Real Suite A, Santa Barbara, CA 93117, U.S.A.; grace.chang@opl.ucsb.edu

2University of Maine, School of Marine Sciences, 5741 Libby Hall, Orono, ME 04469, U.S.A.

3Sequoia Scientific, Inc., Westpark Technical Center, 15317 NE 90th St., Redmond, WA 98052, U.S.A.

4College of Oceanic and Atmospheric Sciences, Oregon State University, Corvallis, OR 97331, U.S.A.

Abstract

Upwelling radiance is an important quantity for interpretation of ocean color remote sensing data.  We present three methods for deriving water-leaving radiance, Lw(), and remote sensing reflectance using a HyperTSRB, profiled spectroradiometers, and Hydrolight 4.1 simulations.  Average agreement between HyperTSRB and spectroradiometric determinations of Lw() was 26%, 13%, and 17% at blue, green, and red wavelengths, respectively.  Comparisons of HyperTSRB (and spectroradiometric) Lw() with Hydrolight simulations yielded percent differences of 17% (18%), 17% (18%), and 13% (20%) for blue, green, and red wavelengths.  The differences in Lw() could largely be accounted for by uncertenties in measurements and  and model assumptions.  We present techniques for converting upwelling radiance to Lw().

OCIS Codes: 010.4450, 120.0280, 120.4640
1.0 Introduction


Spectral radiance is one of the fundamental quantities of interest in the field of ocean optics (Kirk, 1989; Mobley, 1994).  It is important for quantifying ocean color/remote sensing, water column visibility, and photosynthesis.  Over the past few decades, algorithms and models to relate remote sensing measurements to in-water constituents have been developed (e.g., Garver et al., 1994; Tassan, 1994; Roesler and Perry, 1995; Gould and Arnone, 1998; O’Reilly et al., 1998; He et al., 2000).  Ocean color remote sensing data have been used to estimate chlorophyll concentration, spectral backscattering coefficient, spectral absorption coefficient, and spectral absorption coefficient separated into phytoplankton, detrital, and gelbstoff constituents.  Some of the current problems with derivation of pigment concentrations and in-water optical properties from ocean color remote sensing include the presence of clouds, atmospheric corrections (Gordon and Wang, 1994; Gordon et al., 1997; Chomko and Gordon, 1998; Hu et al., 2000), extrapolation of region-specific to global ocean color algorithms (particularly for coastal waters), and determination of the vertical structure of optical and biological characteristics (Gordon and McCluney, 1975).  Recently, increasing research efforts have been focused on the use of remote sensing data to resolve vertical structures and detect subsurface features such as internal waves, sediment plumes, bottom type, and bathymetry (Gould and Arnone, 1998; Barnard et al., 2000; Frette et al., 2001; Weidemann et al., 2001; Dierssen et al., submitted manuscript).

Radiance, L(,z), is defined as the radiant flux at a specified point with units of W m-2 sr-1 nm-1.  It is dependent on zenith angle, ; azimuthal angle, ; wavelength, and depth, z, assuming plane-parallel geometry.  The spectral shape and magnitude of radiance is dependent on the influx of solar radiation at the sea surface, sea surface characteristics, and the optical properties of the water column.  Upwelling radiance, Lu(, z), is the radiance of an upwelling light field at  = .  Lu(, z) is used to compute the spectral radiance reflectance (units of sr-1), 



[image: image1.png]by
00~ T 0





the ratio of the upwelling radiance to the downwelling irradiance, Ed(z).  Irradiance is the vertical component of radiant flux per unit surface area per unit wavelength (units of W m-2 nm-1).  Taken just above the sea surface, rrs() is termed the remote sensing reflectance, 


[image: image2.png]Ly (%) @
Ruh) =550





where Lw() is water-leaving radiance and Ed() is solar spectral irradiance, both quantities measured just above the sea surface (z = 0+).

Novel in situ instrumentation has been developed for measurements of upwelling radiance and downwelling irradiance with hyperspectral capabilities (<5 nm wavelength resolution for 380 ≤ ≤ 800 nm; e.g., Satlantic, Inc. HyperTSRB and MiniSpecs, and HOBILabs HydroRad).  In situ measurements provide a link between remotely sensed data and bio-optical properties in the water column and near the seafloor, which is important for seatruthing and algorithm development (Kohler and Philpot, 2000).  However, several problems exist for the interpretation of in situ radiometric measurements and their comparison to remote sensing data.  In situ radiometric instruments are usually deployed below the sea surface for measurements of Lu(z) rather than the desired Lw() above the sea surface.  Radiometers are usually profiled, moored, or tethered from just below the sea surface down to the 1% light level, but interpretation of near surface data is complicated by surface roughness effects.  These effects include multiple scattering and light focusing of radiant flux from waves (Zaneveld et al., 2001), whitecaps, and bubbles (Gordon and Wang, 1992).  Toole et al. (2000) investigated a variety of environmental effects (Sun angle, cloud cover, wind speed, and viewing geometry) on radiometric determinations.  They found that wind speed is the major factor affecting of measurement uncertainty.  Also, Leathers et al. (2001) have developed a self-shading correction algorithm for correcting upwelling radiance measurements made using radiometers attached to a floating buoy such as the Satlantic TSRB.

Biological and bio-optical processes also affect measured upwelling radiance.  Cullen and Lewis (1995) identified several bio-optical relationships that are altered near the sea surface: (1) the fluorescence yield from chlorophyll declines, (2) the solar-stimulated fluorescence and photosynthesis relationship seems to change significantly from that at depth, and (3) carbon-specific and cellular attenuation cross sections of phytoplankton change with exposure to bright light.  The vertical structure and intensity of chlorophyll have been found to change the shape and magnitude of the upwelling radiance spectra measured at the surface (Arnone et al., 1994).  The effects of scattering phase functions and Raman scattering on water-leaving radiance have also been investigated (Waters, 1995; Gordon, 1999; Mobley et al., 2002).  Mobley et al. (2002) utilized numerical simulations to show that oceanic light fields are sensitive to the shape of the scattering phase function, particularly the backscatter fraction.  Waters (1995) and Gordon (1999) investigated the contribution of Raman scattering to water-leaving radiance using Monte Carlo radiative transfer simulations.  Results from both studies showed that Raman scattering can affect water-leaving radiance by 20-30% for all wavelengths ≥ 470 nm in pure seawater.  In addition, the contribution of Raman scattering decreases with increasing chlorophyll concentration.  These results have important implications for the use of Lw() ratios for ocean color chlorophyll algorithms.

2.0 Methods

The present study is part of the Office of Naval Research (ONR) sponsored Hyperspectral Coastal Ocean Dynamics Experiment (HyCODE).  One of the central goals of the program is to utilize hyperspectral imagery to improve understanding of the diverse processes controlling inherent optical properties (IOPs) in the coastal ocean.  The program also aims to develop operational ocean color algorithms for the optically-shallow ocean and the optically-deep ocean, where bottom reflectance is unimportant.  

Optical measurements presented in this manuscript were made at the Long-term Ecological Observatory site (LEO-15) off the coast of New Jersey in water depths of <25 m (Figure 1).  Three methods were employed to measure or compute spectral radiance and irradiance: (1) Hyperspectral Tethered Spectral Radiometric Buoy (HyperTSRB), (2) OCP-100 freefall spectroradiometers (OCPs), and (3) radiative transfer modeling (Hydrolight 4.1) using input IOPs measured in situ.  All measurements were made at the LEO-15 site between July 17 and 27, 2000 from the R/V Northstar (Figure 1).  This paper focuses on measurements made between July 21 and 27, 2000.

2.1 HyperTSRB
The Satlantic, Inc. HyperTSRB measures upwelling radiance at 0.66 m below the sea surface, Lu(,0.66m), and downwelling irradiance just above the sea surface, Ed(,0+m), at 256 channels between wavelengths of 400 and 800 nm (see http://www.satlantic.com/).  The buoy instruments were tethered at least 30 m away from the ship to avoid vessel shadow effects.  Data were averaged over the HyperTSRB sampling period (between ~2 and 48 minutes).  Self-shading effects were removed from data by use of methods presented in Leathers et al. (2001).  

2.2 OCPs
A Satlantic, Inc. OCP-100 with 7-wavelength radiance and irradiance detectors (412, 442, 490, 532, 555, 590, and 682 nm) was used in profiling mode to make radiometric measurements.  The radiometers were mounted on top of a small cage that was ballasted to provide a slow descent rate (0.2 m s-1 on average).  The radiometers were mounted on horizontal extensions from the cage to minimize the effects of the cage on the measurements.  The two sensors were mounted within 10 cm and 1 m of each other in the vertical and horizontal, respectively.  The platform was profiled approximately 15 m from the boat to minimize shadowing effects.  During the processing, radiometer data were merged with the above-water measurements and the 10 cm difference in depth of the sensors was accounted for.  A tilt sensor was also mounted on the Suitcase package to correct for instrument tilt.

We utilized OCP data to compute the diffuse attenuation coefficient for upwelling radiance,



[image: image3.png]Ly Lt
WA ©

Kp() =






Lu(z) measured by the HyperTSRB and OCPs was then extrapolated to depths of 0.66 m below the sea surface, just below the sea surface (z = 0-), and just above the sea surface (z = 0+) using KL() and the n-squared law for radiance relationship,


[image: image4.png]Ly () = 5 Luy(10) ©)






where n is the real index of refraction of water (n ≈ 1.34) and t is the radiance transmittance of the surface (t ≈ 0.98) (Mobley, 1994).  We then computed remote sensing reflectance using Lw() derived from HyperTSRB and OCP measurements and Ed() measured by the HyperTSRB.

2.3 Hydrolight 4.1
The Hydrolight 4.1 radiative transfer model was used to calculate the apparent optical properties (AOPs) from input IOPs and environmental variables (Mobley et al., 1993; Mobley, 1994).  IOPs were measured concurrently with HyperTSRB and OCP data.  Profiles of optical properties were obtained by using the free-falling slow descent rate optics platform (Slowdrop).  Instruments on Slowdrop included two spectral absorption-attenuation meters (ac-9s), a CTD, and a fluorometer.  To determine the contribution of colored dissolved materials to the total absorption coefficient, a 0.2 m filter (Gelman Suporcap 100) was attached to the inlet of one of the ac-9s.  Both instruments were calibrated daily with optically pure water as a reference (Barnstead NANOpure).  Chlorophyll a concentration was inferred using the fluorometer as well as computed using the spectral absorption data and the method presented in Chang (1999).  Volume scattering functions (VSFs) were measured at discrete depths.  VSFs over a range of scattering angles (0.5° to 177.6°, 0.6° resolution) were quantified by using a prototype VSF-meter (Lee and Lewis, 2002).  This VSF-meter uses a periscope prism that rotates around a photodetector assembly axis located at the center of the scattering volume.  Total (diffuse and direct) sky irradiances were obtained by the above-surface downwelling irradiance sensor on the HyperTSRB.

Wind speeds were recorded at a nearby meteorological tower and cloud cover was estimated at the time of sampling.  Hydrolight formulations were used to compute Sun angle with input latitude and longitude from the shipboard GPS, and sampling days and times.  Pope and Fry (1997) pure water absorption spectra and Prieur and Sathyendranath (1981) specific phytoplankton absorption spectra were utilized.  In all cases, waters were optically deep.  Bioluminescence and Raman scattering were not included in Hydrolight computations.  Sensitivity analyses resulted in differences of < 1% all wavelengths when inelastic scattering was included in Hydrolight runs.  Therefore, it was concluded that inelastic scattering is negligible at the LEO-15 site due to the relatively high concentrations of chlorophyll (Waters, 1995; Gordon, 1999).

2.4 Instrument Accuracies

HyperTSRB downwelling irradiance data were compared with similar measurements made aboard the R/V Northstar using a Satlantic, Inc. Multichannel Visible Detector System (MVDS) sensor.  The MVDS measures at 7 wavelengths in the visible and was located >30 m from the HyperTSRB.  Measurement results were generally within 10% of each other except during periods of high haze and patchy clouds (F. Barantage, pers. comm.).  All radiometers were field calibrated at least every three days against a stable light source.  The the drift of the HyperTSRB and OCP were found to be <3% for both the irradiance and radiance sensors.  Further accuracy information for radiometers can be found in Hooker et al. (2002).

Accurate radiometric measurements are extremely difficult to make due to extensive sources of errors associated with environmental effects and instrument design.  These include instrument tilt for the HyperTSRB (no tilt sensor was mounted on the buoy), shadowing, wave-focusing, depth differences, and wavelength shifts related to the misalignment of optical filters.  The quantification of the uncertainties in the accuracy of the radiometers is presented in the Discussion section. 

The precision of the ac-9 after temperature and scattering corrections is reported to be 0.002 m-1.  The accuracy is dependent on wavelength; uncertainty in scattering corrections for particulate absorption can result in inaccuracies of up to 20% in the blue wavelengths (412 and 442 nm; Zaneveld et al., 1994).  Reported ac-9 calibration accuracy is 0.005 m-1 in the red and green wavelengths.  VSF-meter accuracy was laboratory-tested with monodisperse spheres.  Results compared well (differences within ~10%) with theoretical Mie calculations (Figure 5 in Lee and Lewis, 2002).  

3.0 Results

3.1 Oceanographic Setting

The LEO-15 study site is an area of considerable seasonal and interannual variability caused by semi-diurnal tides, internal solitary waves, upwelling, fronts, coastal jets, eddies, storms, and river and estuarine outflows.  Several of these processes were observed in summer 2000 field study.  In-water optical properties were heavily influenced by a water mass/turbidity front that was located ~8-15 km from shore.  This front separated relatively turbid nearshore waters from clearer offshore waters (Chang et al., 2002).  Particulate absorption, compared to dissolved matter absorption, dominated total absorption nearshore at 440 nm.  In contrast, particulate and dissolved matter each accounted for roughly 50% of total absorption at = 440 nm >15 km from shore.  Small-scale (order of a few kilometers) convergence and divergence zones formed from the interaction of semidiurnal tides with mean currents and the water mass/turbidity front.  These convergence and divergence zones coupled with the presence of the horizontal gradient of particulate matter from nearshore (higher) to offshore (lower), formed small-scale patches of particles.  Further details about the relationships between physical processes and optical properties at the LEO-15 site in summer 2000 can be found in Chang et al. (2002).

3.2 Upwelling Radiance and Remote Sensing Reflectance Spectra

We utilized equation (3) to extrapolate OCP-measured upwelling radiance spectra to 0.66 m below the sea surface, just below the sea surface (0-), and just above the sea surface (0+).  HyperTSRB Lu(,0.66m) was extrapolated to z = 0- and 0+.  These resulting upwelling and water-leaving radiance spectra were then compared with each other as well as with Hydrolight-derived upwelling (z = 0.66 m) and water-leaving radiance.  HyperTSRB and OCP comparisons of Lu(0.66m) and Lw() at the SeaWiFS wavelengths are shown in Tables 1 and 2.  Figure 2 illustrates comparisons between the HyperTSRB and OCP Lu(0.66m).  Errors are reported as percent differences and calculated using the following equation


[image: image5.png]Ly(A2), - Ly(h2),)

diff(h) = 100 x
Ly(h.2),

)




where Lu(z)1 is upwelling or water-leaving radiance measured by the HyperTSRB or OCP and Lu(z)2 is upwelling or water-leaving radiance measured or estimated using the OCP or Hydrolight.  Comparisons between instrument-measured and Hydrolight-computed upwelling radiances are shown in Tables 3 and 4 and Figure 3 (why are there differences between Fig. 2 and 3 for the same data?).  Remote sensing reflectance spectra are shown in Figure 4.  We do not show Rrs() statistical information since it is the same as that for water-leaving radiance; we used the same HyperTSRB-measured Ed() for all remote sensing reflectance calculations
.

The spectral shapes of upwelling radiance and remote sensing reflectance were dependent on sampling location.  Inshore of the water mass/turbidity front, Lw() and Rrs() spectra were relatively constant in shape except <2 km from the mouth of Great Bay.  In this very nearshore region, large peaks were observed at the 560 nm wavelength for normalized Rrs()/Rrs(680 nm) (Figure 4).  Rrs()/Rrs(680 nm) spectra offshore of the water mass/turbidity front were significantly different in shape compared to the inshore spectra, with a ‘shoulder’ of higher values between 400 and 520 nm (Figure 4; July 27, 2000).

We performed empirical orthogonal function (EOF) analyses, also known as principal component analyses, to determine the dominant modes of variability of Rrs() and normalized Rrs().  EOF analysis is an empirical technique used to rank the importance of a set of processes that result in variance of a data set.  It compresses a data set into a series of modes (linear orthogonal functions) with associated vectors of ascending amplitudes corresponding to each mode (see Emery and Thompson, 1997).  Results indicate that the blue end of the spectra changed more rapidly than the red from more turbid inshore waters to clearer waters offshore.  This is also illustrated in Figure 4.

4.0 Discussion

We achieved optical closure of upwelling radiance within instrument measurement uncertainties.  The agreement between the HyperTSRB and OCP measurements of Lu(,0.66m) is within ~25% (Table 1 and Figure 2).  This is remarkable given that AOPs are difficult to measure accurately due to the many variables affecting the measurement (see below).  More remarkable, however, is that we find percent differences of <25% between modeled and measured radiances (except in the red wavelengths; Tables 3 and 4) despite having closure of ~25% between the two different measurement methods
.  

4.1 Sources of Error


HyperTSRB and OCP water-leaving radiance mismatches (Table 2) are most likely due to the extrapolation of subsurface measurements to above-surface values.  These errors are accentuated in the green wavelengths (532 and 555 nm).  Environment and instrument design issues contributing to measurement differences between the HyperTSRB and OCPs include instrument tilt, errors in wavelength registration, depth of the Lu(,z) sensor on the HyperTSRB, and self-shading
.  Possible instrument measurement errors from up to 5-10º tilting of the HyperTSRB were quantified by removing the top and bottom one-third of the data within the sampling period (between ~2 and 48 minutes), i.e., outliers (n = 136 – 2906), before averaging.  This new value was then compared to the average of the entire data set.  Results show that possible tilt errors were negligible (< 1%).  Temperature effects may cause shifts in wavelengths of up to ± 5 nm for radiometric measurements.  Average errors caused by these wavelength shifts were found to be within ± 6%, with the largest errors found in the blue wavelengths.  Changes in the distance between the sea surface and the depth of the Lu(,z) sensor on the HyperTSRB may cause errors in measurements of Lu(,0.66m).  Errors were determined by comparing OCP-measured Lu(,0.66m), Lu(,0.71m), and Lu(,76m).  Results show that a 5 cm change in depth of the HyperTSRB Lu(,z) sensor would result in changes in Lu(,z) of up to 14.4%, 21.7%, and 12.6% in the blue, green, and red wavelengths, respectively.  A 10 cm change would cause errors of 17.6%, 22.3%, and 14.8% in the blue, green, and red wavelengths, respectively.  Average self-shading errors have been reported to be about 5% for measurements of upwelling radiance and highly dependent on solar angle and water column absorption (Gordon and Ding, 1992).  Leathers et al. (2001) found self-shading errors for a solar angle of 0º and scattering to absorption ratio of 2.0 (4.0) of up to 33% (26%) and 58% (37%) for absorption values of 0.2 m-1 and 0.5 m-1, which are the ranges of scattering to absorption ratios and absorption values found during the 2000 HyCODE experiment.  These self-shading errors were corrected for HyperTSRB data, but not for OCP data.  Therefore, uncertainties of the  measurements can account for the ~25% difference found between HyperTSRB and OCP determinations of Lu(,z) (Table 1; Figure 2).

The values at the chlorophyll fluorescence peak (~680 nm) are affected by both the spectral chlorophyll-specific absorption coefficient, a*ph(), and the chlorophyll fluorescence quantum efficiency, which is assumed to be constant (0.02) in Hydrolight.  The natural variability of fluorescence quantum efficiency has been found to be between 0.01 and 0.03 (Westberry, 2001; and references therein).  Therefore, the relatively larger errors found in the chlorophyll fluorescence band (Tables 3 and 4) can be attributed to Hydrolight simulation assumptions used in the computation of chlorophyll fluorescence and assumptions about a*ph().  The natural variability of a*ph() is between 0.008 and 0.023 m-1 at 676 nm (Prieur and Sathyendranath, 1981).  Ideally, measured values of a*ph() should be inputted into the model for more accurate AOP outputs.  Unfortunately, no measurements of fluorescence quantum yield and no concurrent measurements of a*ph() were made during the 2000 HyCODE experiment.

In addition to radiometric measurement and instrument inaccuracies, and model assumptions, another possible source of error for the derivation of Lw() includes scattering corrections
.  Mobley et al. (2002) found that calculations of AOPs from IOPs are sensitive to the backscatter fraction and the shape of the scattering phase function at intermediate and backward scattering angles.  We assume that the shape of the measured VSFs were independent of wavelength.  Therefore, relatively small errors in measurements of the VSF using the prototype instrument can lead to significant differences in Hydrolight calculations of Lw().  Also, differences may be due to the presence of vertical structure of optical properties in the water column as VSF measurements were made at single depths and assumed to be constant throughout the modeled water column.  See Mobley et al. (2002) for a sensitivity analysis of VSF effects on AOPs.

Errors in the blue wavelengths (412-490 nm; Tables 3 and 4) may be due to uncertainties in the scattering corrections for ac-9 measured absorption, which are used as inputs to Hydrolight.  As mentioned in section 2.4, uncertainties in scattering corrections can result in errors in absorption of up to 20% (Zaneveld et al., 1994).  These errors are then propagated throughout the radiative transfer equations in Hydrolight, leading to inaccurate computations of the output AOPs.  

4.2 Rrs() Measurements and Closure 

It has been shown that direct measurements of Rrs() cannot be made and various methodologies have been utilized in its determination (Mobley, 1999).  The relationship Lu(0.66m)/Ed(,0+m), with both parameters measured by the TSRB or HyperTSRB, is often used for “back-of-the-envelope” estimates of Rrs().  However, this can lead to errors of up to 75% in the green wavelengths as compared to Rrs() = Lw()/Ed(,0+m) (Figure 5).  Techniques to derive Lw() from in situ measurements of Lu(z) are briefly described in this paper.  However, all of these derivations require additional supporting measurements, e.g., IOPs for Hydrolight modeling (spectral absorption, attenuation or scattering coefficients, VSF measurements, chlorophyll concentration, chlorophyll-specific absorption, etc.) or profiled or multi-sensor Lu(,z) measurements for empirical extractions together with above-water measurements of Ed().  

We tried to quantify a conversion factor, Fg(), to estimate Lw() from Lu(,0.66m) measured in situ with a TSRB or HyperTSRB.  Fg() was determined by subtracting HyperTSRB-measured Lu(,0.66m) from Hydrolight-derived Lw() at all sampling locations and then averaged.  Fg() was then added to Lu(,0.66m) at each location.  


[image: image6.png]Fg0) = £ [y (1) - Lugsus(3-0.66m)] (6a)






[image: image7.png]Lwrsen(M) = Fg(1) + Lypsps(R,0.66m) . (6b)




Results indicate that Fg() was highly variable with sample day/time and location and therefore was not suitable for even small-scale regional extrapolation (Figure 6).  Fg() averaged for each sampling day was less variable, but still produced errors comparable to the other techniques presented in this manuscript (Figure 6).  Optical variability at the LEO-15 site is extremely high at short time and length scales compared to the open ocean and even other coastal areas (Chang et al., 2002).  This conversion factor method may be suitable for less dynamic regions of the world’s oceans.  

The simplest technique for accurate, direct determinations of Rrs( from in situ measurements (a TSRB or HyperTSRB) may be to include an additional upwelling radiance sensor at a depth different from 0.66 m (Kohler and Philpot, 2000).  The two radiance sensors would be used to calculate the diffuse attenuation coefficient for upwelling radiance using equation (3).  KL() would then be used to extrapolate Lu(,z) to Lw() following equation (4), or summarized,







[image: image8.png]B L)
L) ="fx exp (0.66 x K, (1) @






where f is a function of the sea surface transmission characteristics.  The HyperTSRB would also provide downwelling irradiance above the sea surface, Ed(,0+).

KL() can also be used to propagate Lu(,z) throughout the water column given satellite-measured Rrs(.  KL(), which is related to absorption and backscattering, a() + bb(), can be estimated using remote sensing algorithms (e.g., Gould and Arnone, 1998).  KL() would then be applied to equations (3) and (4) or (6) with TSRB or HyperTSRB measurements of Ed() and Lu(,0.66m).  This is the most straightforward method for closure between satellite and in situ measured optical parameters below the water surface without in situ measurements of IOPs. 

5.0 Summary

In situ observations of upwelling radiance were made during the HyCODE project in coastal New Jersey (<25 m water depth) waters using two different methods: 1) HyperTSRB and 2) OCPs.  These measurements were compared with model estimates that used complementary measurements of IOPs for Hydrolight 4.1 model inputs.  KL() was computed using data from the OCPs to determine Lu(,0.66m), Lu(,0-), and Lw() (also using the n-squared law for radiance).  Average agreement between HyperTSRB and OCP determinations of Lw() was 26%, 13%, and 17% at blue, green, and red wavelengths, respectively; average r2 was 0.95.  Comparisons of HyperTSRB (and OCP) Lw() with Hydrolight simulations yielded percent differences of 17% (18%), 17% (18%), and 13% (20%) for blue, green, and red wavelengths.  The average r2 was 0.94 for HyperTSRB and 0.98 for OCP comparisons with Hydrolight.  Differences are attributed to radiance measurement inaccuracies, Hydrolight assumptions about the chlorophyll fluorescence quantum efficiency and the spectral chlorophyll-specific absorption coefficient, scattering corrections for ac-9 absorption data used in Hydrolight, and errors in VSF measurements.

Spectral changes were dependent on sampling location, with turbid inshore waters exhibiting a relatively constant shape and clearer offshore waters displaying higher values of Lw() and Rrs() between 400 and 520 nm.  This is also reflected in EOF analyses that showed that the blue end of the spectra changed more rapidly than the red from inshore turbid waters to offshore clearer waters.

We suggest techniques for estimating Rrs() using in situ measurements and seatruthing satellite-measured Rrs().  The first involves the use of a conversion factor, determined from differencing HyperTSRB-measured Lu(,0.66m) from Hydrolight-derived Lw() at all sampling locations and averaging.  This method proved unsuccessful at the highly optically variable LEO-15 site but may be useful in open ocean waters.  The second method involves the inclusion of an additional upwelling radiance sensor on a TSRB or HyperTSRB at a depth different from 0.66 m.  The two sensors would be used to compute KL() and then be used to extrapolate Lu(,z) to Lw().  The third method utilizes satellite algorithms to estimate KL() or a() and bb() to extrapolate Lu(,z) throughout the water column.

Differences between measured and modeled upwelling and water-leaving radiances and remote sensing reflectances were within 20%.  This is an important step forward in the understanding of closure of IOPs and AOPs between models and data.  Advancement of optical instrumentation technology now affords us the tools to improve our measurements and thus, radiative transfer models.  For example, the newly developed scattering instruments (Lee and Lewis, submitted manuscript) now provide direct measurements of the VSF rather than relying on coarsely resolved data sets collected more than 20 years ago (Petzold, 1972).  

Acknowledgements

This work was supported by the Office of Naval Research Environmental Optics Program as part of the HyCODE program.  We would also like to thank François Baratange for his help in data collection and processing.

References

Arnone, R. A., R. W. Gould, R. A. Oriol, and G. Terrie, “Effects of vertical chlorophyll structure and solar irradiance on remote sensing ocean color spectrum,” in Ocean Optics XII, S. G. Ackleson ed., Proc. SPIE 2258, 322-331 (1994).

Barantage, F., College of Oceanic and Atmospheric Sciences, Oregon State University, Corvallis, OR 97331 (personal communications, 2002).

Barnard, A. H., A. D. Weidemann, W. S. Pegau, J. R. V. Zaneveld, J. W. Rhea, and C. O. Davis, “Hyperspectral remote sensing imagery and the detection of subsurface features,” presented at Ocean Optics XV, Monte Carlo, Monaco, 16-20 October 2000.

Chang, G. C., Analyses of bio-optical variability related to physical processes on the southern New England continental shelf: July 1996 - June 1997, Ph.D. dissertation, (University of California, Santa Barbara, 1999).

Chang, G. C., T. D. Dickey, O. M. Schofield, A. D. Weidemann, E. Boss, W. S. Pegau, M. A. Moline, and S. M. Glenn, “Nearshore physical processes and bio-optical properties in the New York Bight,” J. Geophys. Res., (to be published).

Chomko, R. M. and H. R. Gordon, “Atmospheric correction of ocean color imagery: use of the Junge power-law aerosol size distribution with variable refractive index to handle aerosol absorption,” Appl. Opt., 37, 5560-5572 (1998).

Cullen, J. J. and M. R. Lewis, “Biological processes and optical measurements near the sea surface: Some issues relevant to remote sensing,” J. Geophys. Res. 100, 13,255-13,266 (1995).

Dierssen, H. M., Moss Landing Marine Laboratories, 8272 Moss Landing Road, Moss Landing, CA 95039, R. C. Zimmerman, R. A. Leathers, T. V. Downes, and C. O. Davis, submitted a manuscript called, “Remote sensing of bathymetry and seagrass in the Bahamas Banks using high resolution airborne imagery” to Limnol. Oceanogr.

Emery, W. J. and R. E. Thomson, Data Analysis Methods in Physical Oceanography, (Permagon, New York, 1997).

Frette, O., S. R. Erga, J. J. Stamnes, and K. Stamnes, “Optical remote sensing of waters with vertical structure,” Appl. Opt. 40, 1478-1487 (2001).

Garver, S. A., D. A. Siegel, and B. G. Mitchell, “Variability in near-surface particulate absorption spectra: What can a satellite ocean color imager see?,” Limnol. Oceanogr. 39, 1349-1367 (1994).

Gordon, H. R., “Contribution of Raman scattering to water-leaving radiance: a reexamination,” Appl. Opt. 38, 3166-3174 (1999).

Gordon, H. R. and W. R. McCluney, “Estimation of the depth of sunlight penetration in the sea for remote sensing,” Appl. Opt., 14, 413-416 (1975).

Gordon, H. R. and K. Ding, “Self-shading of in-water optical instruments,” Limnol. Oceanogr. 37, 491-500 (1992).

Gordon, H. R. and M. Wang, “Surface-roughness considerations for atmospheric correction of ocean color sensors. II: Error in the retrieved water-leaving radiance,” Appl. Opt. 31, 4261-4267 (1992).

Gordon, H. R., T. Du, and T. M. Zhang, “Atmospheric correction of ocean color sensors: analysis of the effects of residual instrument polarization sensitivity,” Appl. Opt., 36, 6938-6948 (1997).

Gould, R. W. and R. A. Arnone, “Three-dimensional modelling of inherent optical properties in a coastal environment: coupling ocean colour imagery and in situ measurements,” Int. J. Remote Sensing 19, 2141-2159 (1998).

He, M-X., Z-S. Liu, K-P. Du, L-P. Li, R. Chen, K. L. Carder, and Z-P. Lee, “Retrieval of chlorophyll from remote-sensing reflectance in the China seas,” Appl. Opt. 39, 2467-2474 (2000).

Hooker, S. B., S. McLean, J. Sherman, M. Small, G. Lazin, G. Zibordi, and J. Brown, “The Seventh SeaWiFS Intercalibration Round-Robin Experiment (SIRREX-7), March 1999,” SeaWiFS Postlaunch Technical Series, Vol. 17, S.B. Hooker and E.R. Firestone, Eds., NASA Goddard Space Flight Center, Greenbelt, Maryland (2002).

Hu, C., K. L. Carder, and F. E. Muller-Karger, “Atmospheric correction of SeaWiFS imagery: Assessment of the use of alternative bands,” Appl. Opt., 39, 3573-3581 (2000).

Kirk, J. T. O., “The upwelling light stream in natural waters,” Limnol. Oceanog. 34, 1410-1425 (1989).

Kohler, D. D. R. and W. D. Philpot, “Comparing in situ and remotely sensed measurements in optical shallow waters,” presented at Ocean Optics XV, Monte Carlo, Monaco, 16-20 October 2000.

Leathers, R. A., T. V. Downes, and C. D. Mobley, “Self-shading correction for upwelling sea-surface radiance measurements made with buoyed instruments,” Opt. Exp. 8, 561-570 (2001).

Lee, M. E., Optical Oceanography Laboratory, Marine Hydrophysical Institute, National Ukrainian Academy of Science, 2 Kapitanskaya St., Sevastopol, Crimea, Ukraine, 99011, and M. R. Lewis submitted a manuscript, “Measurement of the optical volume scattering function in the upper ocean,” to J. Atmos. Oceanogr. Tech.

Mobley, C. D., Light and Water: Radiative Transfer in Natural Waters, (Academic Press, San Diego, 1994).

Mobley, C. D., “Estimation of the remote-sensing reflectance from above-surface measurements,” Appl. Opt., 38, 7442-7455 (1999).

Mobley, C. D., B. Gentili, H. R. Gordon, Z. H. Jin, G. W. Kattawar, A. Morel, P. Reinersman, K. Stamnes, and R. H. Stavn, “Comparison of numerical models for computing underwater light fields,” Appl. Opt., 32, 7484-7504 (1993).

Mobley, C. D., L. K. Sundman, and E. Boss, “Phase function effects on oceanic light fields,” Appl. Opt., 41, 1035-1050 (2002).

O’Reilly, J. E., S. Maritorena, B. G. Mitchell, D. A. Siegel, K. L. Carder, S. A. Garver, M. Kahru, and C. McClain, “Ocean color chlorophyll algorithms for SeaWiFS,” J. Geophys. Res. 103, 24,937-24,953 (1998).

Petzold, T. J., “Volume scattering functions for selected ocean waters,” Tech. Rept. SIO 72-78, Scripps Inst. Oceanogr., San Diego, 79 pgs. (1972).

Pope, R. M. and E. S. Fry, “Absorption spectrum (380-700 nm) of pure water.  II.  Integrating cavity measurements,” Appl. Opt. 36, 8710-8723 (1997).

Prieur, L. and S. Sathyendranath, “An optical classification of coastal and oceanic waters based on the specific spectral absorption curves of phytoplankton pigments, dissolved organic matter, and other particulate materials,” Limnol. Oceanogr. 26, 671-689 (1981).

Roesler, C. S. and M. J. Perry, “In situ phytoplankton absorption, fluorescence emission, and particulate backscattering spectra determined from reflectance,” J. Geophys. Res. 100, 13,279-13,294 (1995).

Tassan, S., “Local algorithms using SeaWiFS data for the retrieval of phytoplankton, pigments, suspended sediment, and yellow substance in coastal waters,” Appl. Opt. 33, 2369-2378 (1994).

Toole, D. A., D. A. Siegel, D. W. Menzies, M. J. Neumann, and R. C. Smith, “Remote-sensing reflectance determinations in the coastal ocean environment: impact of instrumental characteristics and environmental variability,” Appl. Opt. 39, 456-469 (2000).

Waters, K. J., “Effects of Raman scattering on the water-leaving radiance,” J. Geophys. Res. 100, 13,151-13,161 (1995).

Westberry, T. K., Phytoplankton natural fluorescence variability and primary production in the Sargasso Sea, Masters Thesis, (University of California, Santa Barbara, 2001).

Weideman, A. D., D. J. Johnson, R. J. Holyer, W. S. Pegau, L. A. Jugan, and J. C. Sandidge, "Remote imaging of internal solitons in the coastal ocean," Rem. Sens. Environ. 76, 260-267 (2001).

Zaneveld, J. R. V., J. C. Kitchen, and C. Moore, “The scattering error correction of reflecting-tube absorption meters,” in Ocean Optics XII, S. G. Ackleson ed., Proc. SPIE 2258, 44-55 (1994).

Zaneveld, J. R. V., E. Boss, and A. Barnard, “Influence of surface waves on measured and modeled irradiance profiles,” Appl. Opt. 40, 1442-1449 (2001).

Figures
[image: image9.png]Legend, OSU
sampling





Figure 1. LEO-15 site map showing the measurements made during the HyCODE experiment between July 21 and 27, 2000.  Depth contours are approximate.

[image: image10.jpg]0.012 30
(@) (b)

15

0.008

0 004

L, {3, 0.66m) (W m™ nm”* sr‘)
O
(o)
le)
% difference
N
o o

0 30
400 450 500 550 600 650 700 300 450 500 550 600 650 700
0.012 20
= (©) ()
5
E
E0.008 )
£ 8
z &
£ 0.004 220 1
€ ==
S
e
0 40 i
400 450 500 550 600 650 700 400 450 500 550 600 650 700
0.005 40

(e)

sr‘)

Luu, 0.66m) (Wm?2 nm’

o

=1

=1

N

% difference,

o
é E

~_0.004

20
0.003

0,001
0 20
400 450 500 550 600 650 700 400 450 500 550 600 650 700
0.005 ° 10
= (9) 2 )
< 0.004
E
& 320
L 0.003 §
; 1)
£0.002 £
8 0
< 0.001
e
0 20 i
400 450 500 550 600 650 700 400 450 500 550 600 650 700

Wavelength (nm) Wavelength




Figure 2. HyperTSRB (solid lines) and OCP (circles) comparisons of Lu(0.66m) at the SeaWiFS wavelengths for (a and b) July 21, 2000; 39.37°N, 74.21°W, (c and d) July 22, 2000; 39.46°N, 74.26°W, (e and f) July 24, 2000; 39.49°N, 74.23°W, and (g and h) July 27, 2000; 39.36°N, 74.13°W.  Differences between the two methods, calculated by equation (5), are shown in the right-hand column.

[image: image11.jpg]0.016 0.016
%, 0.012 % 0.012
£ 0.008 E 0.008
E E
= 0.004 = 0.004
s s o
0 0
400 500 600 700 400 500 600 700 400 500 600 700 400 500 600 700
0.012 a0 . 0012 0
% 0 o 20
5 0.008 V\ / % 0.008 8 \
5 0 ™\ 5 E o5 oo N
E0.004 500 N / E 2 [} o
z -20 10 o N z .20
0 40 40
400 400 500 600 700 400 500 600 700
30 0
5 5 __—’,ﬂ\‘\
0 0 o ° A
oo q\
5 5
-30 -30
400 400 500 600 700

400 500 600 700
Wavelength (nm)

500 600
Wavelength

700





Figure 3. Comparisons between HyperTSRB (solid lines) and OCP (circles) measured Lu(0.66m) (left two columns) and Lw() (right two columns) with Hydrolight-computed (dashed lines) upwelling radiances for (a-d) July 21, 2000; 39.37°N, 74.21°W, (e-h) July 22, 2000; 39.46°N, 74.26°W, (i-l) July 24, 2000; 39.41°N, 74.20°W, and (m and n) July 27, 2000; 39.34°N, 74.08°W.  No OCP data were obtained on July 27, 2000, therefore only HyperTSRB and Hydrolight Lu(0.66m) are compared; Hydrolight-derived Lw() is plotted as the dash-dotted line.  Differences between methods, calculated by equation (5), are also shown.

[image: image12.jpg]0.01

(a)

0.0075

0.005

R () (sr)

0.0025

0.01

0.0075

0.005

R () sr)

0.0025

0
400 450

0.005

0.004

)

0.003

R (1) (sr

0.002

0.001

0
400 450

0.004

500 550 600 650 700

1]
0.003

0.002

R () (sr)

0.001

0
400 450

500 550 600 650 700
Wavelength (nm)

% difference

% difference

% difference

400

450

500 550 600

650

700

650

700

-20
400

450

500 550 600
Wavelength (nm)

650

700




Figure 4. Rrs(), derived from HyperTSRB (solid lines) and OCP (circles) measurements and Hydrolight simulations (dashed lines) for (a and b) July 21, 2000; 39.37°N, 74.21°W, (c and d) July 22, 2000; 39.46°N, 74.26°W, (e and f) July 24, 2000; 39.41°N, 74.20°W, and (g) July 27, 2000; 39.34°N, 74.08°W.  Again, no OCP data were obtained on July 27, 2000, therefore only Hydrolight Rrs(is shown.  Differences between the methods, calculated by equation (5), are shown in the right-hand column.

[image: image13.jpg]0.01

()

0.0075

=4
=)
=1
=

TSRB R (3} (sr”)

0.0025

0
400

450 500 550 600 650 700
Wavelength (nm)

0.01
(c)

0.0075

0.005

SPMRR_{3) (s}

0.0025

0
400

450 500 550 600 650 700
Wavelength (nm)

% difference

% difference

100

b)
80

60

40

20

0
400

100

450

500 550 600
Wavelength (nm)

650

700

80

60

40

20

0
400

450

500 550 600
Wavelength (nm)

650

700




Figure 5. Rrs() = Lu(0.66m)/Ed(,0+m) (dashed line with crosses) compared with Rrs() = Lw(,0+m)/Ed(,0+m) (solid line with symbols) for July 24, 2000; 39.41°N, 74.20°W.  HyperTSRB data are shown in (a and b) and OCP data are illustrated in (c and d).  Differences were computed using equation (5) and shown in the right-hand column.

[image: image14.jpg]STD of Fg(3)

x10°
2

Fa(2)

4
400

500 600
Wavelength (hm)

700

x10°
2

(c)

Fa(2)

4
400 500 600 700
Wavelength (hm)
x10°
1
(e) *=All
+27/21/00
0.75 A=7/22100
0=7/24/00
X=7/27/00
0.5
0.25

500 600
Wavelength (nm)

Variance of Fg(»)

x10°
2

(b)

Fa(x)

700

700

4
400 500 600
Wavelength (hm)
x10°
2
(d)
=
k=)
w
-2
4
400 500 600
Wavelength (hm)
x10°
1
U}
0.75
0.5
0.25

500
Wavelength (hm)

600




Figure 6. Maximum (circles), minimum (pluses), and mean (triangles) of the conversion factor, Fg(), for (a) July 21, 2000, (b) July 22, 2000, (c) July 24, 2000, and (d) July 27, 2000; and (e) standard deviation and (f) variance of the conversion factor, Fg(), averaged over all days and locations and averaged over each sampling day.  The legend for the standard deviation and variance plots is shown in (e).

Tables

Table 1. Average percent differences computed using equation (5) and r2 values between HyperTSRB and OCP Lu(0.66m).

	
	412
	442
	490
	532
	555
	590
	682
	r2

	July 21d
	30.88
	25.77
	18.91
	12.23
	12.64
	10.69
	10.25
	0.969

	July 22
	42.48
	39.52
	33.30
	24.03
	23.23
	9.000
	25.37
	0.967

	July 24a
	48.92
	46.57
	39.42
	28.96
	28.22
	16.42
	33.84
	0.972

	July 24b
	30.95
	29.78
	22.78
	9.285
	8.268
	14.82
	16.58
	0.968

	July 24c
	32.99
	33.39
	29.39
	18.89
	18.10
	4.068
	25.03
	0.972

	July 24d
	23.75
	23.81
	20.17
	10.99
	10.59
	12.02
	14.38
	0.969

	July 27c
	22.07
	18.71
	11.85
	8.633
	7.170
	30.19
	7.960
	0.929

	Average
	34.74
	32.36
	26.20
	16.98
	16.42
	12.97
	19.73
	0.966


Table 2. Average percent differences computed using equation (5) and r2 values between HyperTSRB and OCP Lw().

	
	412
	442
	490
	532
	555
	590
	682
	r2

	July 21d
	31.79   
	25.99
	18.33
	11.08
	11.56
	13.18
	11.14
	0.956

	July 22
	25.89   
	21.57
	14.41
	10.70
	10.26
	16.71
	12.33
	0.955

	July 24a
	48.44   
	45.23
	36.24
	23.93
	22.45
	10.26
	32.75
	0.948

	July 24b
	19.13   
	21.75
	19.61
	9.573
	9.292
	13.28
	12.70
	0.961

	July 24c
	39.80   
	37.33
	27.06
	11.42
	9.422
	8.855
	24.80
	0.932

	July 24d
	10.44   
	10.55
	9.403
	6.116
	5.729
	25.70
	4.934
	0.961

	July 27c
	20.98   
	17.26
	8.591
	6.033
	5.660
	39.88
	15.16
	0.876

	Average
	29.84   
	27.17
	20.51
	12.29
	11.73
	16.06
	16.67
	0.947


Table 3. Average percent differences computed using equation (5) and r2 values between HyperTSRB and Hydrolight and OCP and Hydrolight (in parentheses) for Lu(0.66m).

	
	412
	442
	490
	532
	555
	590
	682
	r2

	July 21a
	22.49 
	19.98
	4.690
	12.21
	18.34
	23.07
	17.31
	0.963

	July 21b
	2.883 
	1.964
	12.47
	23.85
	29.48
	38.46
	9.443
	0.960

	July 21c
	2.995   
	1.344
	10.20
	20.09
	25.57
	35.57
	16.86
	0.963

	July 21d
	1.023

(30.65)
	2.327

(24.75)
	13.66

(25.03)
	22.00

(24.99)
	28.25

(34.75)
	41.25

(39.23)
	6.963

(3.742)
	0.952

(0.988)

	July 21e
	5.531   
	9.141
	19.47
	28.33
	32.89
	44.03
	0.876
	0.955

	July 21f
	10.99    
	9.311
	1.896
	10.54
	17.06
	29.20
	31.65
	0.962

	July 22
	15.78

(25.80)
	10.92

(21.56)
	6.797

(20.94)
	13.95

(22.39)
	19.03

(29.69)
	25.31

(23.10)
	26.68

(7.476)
	0.967

(0.987)

	July 24a
	48.56

(20.95)
	48.34

(16.72)
	33.26

(15.31)
	13.54

(15.98)
	8.589

(18.86)
	4.209

(13.23)
	57.64

(7.639)
	0.972

(0.997)

	July 24c
	22.56

(15.00)
	19.83

(17.82)
	15.49

(16.99)
	6.219

(13.50)
	1.052

(20.93)
	12.58

(11.97)
	126.8

(76.00)
	0.973

(0.978)

	July 24d
	30.53

(12.77)
	23.89

(7.233)
	20.25

(8.109)
	13.02

(12.38)
	4.576

(1.075)
	13.42

(8.462)
	130.5

(117.8)
	0.965

(0.981)

	July 24e
	23.80
	20.46
	15.44
	4.695
	3.246
	16.08
	96.69
	0.968

	July 27a
	18.10    
	7.888
	1.780
	10.72
	14.38
	31.15
	72.62
	0.945

	July 27c
	6.800

(6.366)
	8.707

(9.801)
	12.80

(11.83)
	23.60

(17.27)
	28.34

(24.16)
	41.05

(17.59)
	65.26

(84.39)
	0.924

(0.979)

	Average
	14.22

(20.80)
	11.95

(17.91)
	11.97

(17.81)
	16.39

(19.04)
	19.40

(24.05)
	28.72

(19.30)
	42.49

(37.59)
	0.960

(0.986)


Table 4. Average percent differences calculated using equation (5) and r2 values between HyperTSRB and Hydrolight and OCP and Hydrolight (in parentheses) for Lw().

	
	412
	442
	490
	532
	555
	590
	682
	r2

	July 21d
	10.87

(37.17)
	7.483

(28.92)
	12.30

(23.42)
	18.83

(21.64)
	28.01

(30.54)
	39.50

(27.89)
	35.33

(41.51)
	0.937

(0.985)

	July 22
	20.61

(22.70)
	25.43

(11.23)
	20.27

(8.632)
	8.404

(11.87)
	11.55

(20.85)
	17.43

(14.89)
	2.971

(17.49)
	0.944

(0.983)

	July 24a
	39.01 (26.03)
	40.65

(21.04)
	26.50

(19.61)
	6.774

(20.99)
	4.328

(24.31)
	8.702

(21.00)
	15.88

(20.87)
	0.952

(0.998)

	July 24c
	3.805

(28.01)
	7.042

(26.59)
	11.05

(20.18)
	5.580

(13.02)
	3.552

(19.89)
	14.26

(13.66)
	11.70

(13.30)
	0.972

(0.990)

	July 24d
	10.09

(4.888)
	8.251

(6.300)
	11.33

(0.469)
	7.170

(6.570)
	3.219

(3.812)
	18.57

(2.011)
	5.226

(0.548)
	0.959

(0.991)

	July 27c
	4.356

(10.03)
	10.66

(14.63)
	20.24

(19.34)
	31.92

(26.28)
	36.44

(33.00)
	48.76

(28.37)
	22.51

(21.26)
	0.864

(0.962)

	Average
	16.03

(22.39)
	18.35

(16.90)
	17.56

(14.01)
	12.21

(15.76)
	14.34

(22.12)
	23.43

(17.63)
	13.36

(19.66)
	0.940

(0.984)


�We had 3 measurements of Ed, MVDS, TSRB and OCP. How did they compare?


�Not clear what you are comparing.


�A remarkable feature of figure 3 is the consistency in shape of the differences in Lu(0.66). This cannot be explained by uncertainties of measurement but rather probably by calibration/processing difference creating a bias between the measurements. Since kz(lambda) changed between the different days, that cannot explain the difference either.


�Are they consistent with the consistency in spectral shape of the difference?


�Of what? Absorption? its in the next paragraph





PAGE  
38

